## Sheet2
Village Name	Power distance	Power distance image	Location	Notes	Power usage and plug type	note
Village:DutchPicknick	50m		Village:DutchPicknick	Kitchen equipement, lights, audio equipment, beamer, stagelights, power for sleeping places, cooling trailer, servers	1x 3x400V+N 32A CEE	Provide 60 residents with an enjoyable WHY2025 and we have our own distributionpoints from 32A/400V to 3x 230V (L1/L2/L3) for use inside the village
Village:Squirrel (Brussels)	35m		Village:Squirrel (Brussels)	Multiple various equipments, deep fryers, and servers	1x 3x400V+N 32A CEE	Break-out box provided + 20 m of 32A extension cord	✅	-
Village:WOC		32A Already there	Pagode Tent WOC	Power for Waffle irons, fridges, ice rolls, kitchen stuff in the WOC Village…	~20kW 12x230V Schuko	-	✅	-
Village:Area42		63A Already there	Area42/Cluster D42D	Kitchen equipment, lights, audio equipment, power for sleeping places (incl. some medical stuff), etc.	31KW Peak (most likely during early morning hours and late afternoon for cooking activities), 1x 63A CEE (we will distribute further down ourselves)	-	✅	-
Village:ChaosFurs	45m		tbd	Village distribution (smoke machine, single induction cooker, partylights, audio, small fridge, projector)	32A/400V (we have our own distribution box and have 32A/400V and 16A/400V out to daisy chain to next box if needed)		✅	-
Village:Food_Hacking_Base	60m		Food Hacking Base village	Kitchen equipment, cooling trailer	32A/400V	we have our own distribution box and have 32A/400V and 16A/400V out to daisy chain to next box if needed	tbd	Location?
Village:Yolocation		Distribution IN village	Popup datacenter for Free VMs	Datacenter and server equipment	32A / 400V CEE We have our own fused distribution box to 6x16A 230V	7/8-13/8	-
Village:Salmiakki, map link	45m		Sauna stove + hacktent + tents	1x 32A CEE (we split it with own distribution box to 3x16A for sauna and 3x16A to rest)		tbd
Village:ANDERSTORPSFESTIVALEN	45m		Bar right of event party bar	PA, Bar equipment, fridges	1x 32A / 400V CEE (we have our own distribution box), we also power ornhack from that dist.	If possible we'd like power from day -2 (5th)	tbd
Village:Nbsp	75m		Violet Field	Domes and Dome accessories	2x 3 phase 16A CEE	email if there are issues; 32A 3P or multiple seperate phases may be doable	-	-
Village:Milliways	Both on north and south		Milliways Cluster south of food court	2x Cooling Trailers, JungleDome, lighting, DJ Booth, Kitchen Equipment and more	2x 32A / 400V CEE (we have our own distribution boxes)	If possible we'd like power from day -2 (5th)	tbd
Village:Back_to_the_80s_Party	50m		Village Back to the 80s Party	Audio, kitchen equipment, cooling, party lights, overhead projector, beamer, laptops, pinball machine	3 phase 400V 16A CEE (we have our own distribution box)		tbd
Village:ZTL	20m		Village ZTL	Lights, Fridge, Induction Cooker, Oven, Soldering Equipment	3 phase 400V 16A CEE (we have our own distribution box)	distribution box has additional CEE socket for further distribution + we bring 10m of cable but could bring more if necessary)	tbd
Village:SHA512	50m		Village SHA512	Lights, Fridge, Induction Cooker, Soldering Equipment, Microscope and other hardware hacking equipment	3 phase 400V 16A CEE (we have our own distribution box)		tbd
Village:Energy	45m		Village Energy	Lights, Fridge, (Water)Cooker, Soldering Equipment, Computers, Projectors, Networking	3 phase 400V 16A CEE (we have our own distribution box)		tbd
Village:Entropolis	40m		Village Entropolis	Lights, Fridge, Electric / Induction Cooker, Coffee Machine, Kettle, Soldering Equipment, Computers, Projectors, Networking,	3 phase 400V 16A CEE (please provide distribution box if possible)		tbd
Village:Green_Ninjas	50m		Village Green Ninjas	Space for ~60 people (20 villagers + 40 visitors, during self-hosted talks in the day) with laptops + 3 TV Screens + Lighting (led), a fridge, a coffee machine & networking equipment	If possible, multiple normal 230v sockets	Email if any questions. No requirements before Day 0 (7th). Maybe the heavy power request is unnecessary?	tbd
Village:ne2000	50m		Village cyan	kitchen appliances, laptops, artwork, etc. 10kW peak usage expected.	Schuko plugs only, please provide a distribution box, especially if we need to pass-through to the tent-free space near us.		tbd
Village:/dev/lol	In the village		Village /dev/lol	Lights, Projectors, Computers, laptops, artwork, kitchenstuff etc. 10kW peak usage expected.	1x CEE 400V 16A (max. 8kW power requirement) for our own distribution box		tbd
Village:Frubar	50m		Village Frubar	DMX Lights, Soundsystem, LED Wall, Retrocomputers (PDP11), Fridge, Kitchen & Bar equipment, Computers for ~40 villagers	1x 32A/400V CEE (we have our own distribution box)		tbd
Village:Geraffel	15m		Village Geraffel	Lights, 3 * Fridge, (Water)Cooker, Beer Cooler, Soldering Equipment, Computers, Projectors, Networking	3 phase 400V 32A CEE (we have our own distribution box)		tbd
Village:HackTheHealth	20m		Village HackTheHealth	Lights, 2 * Fridge, Various bits of equipment to hack and be hacked.	3 phase 400V 32A CEE (we have our own distribution boxes)	We are next to Village:DutchPicknick and Village:Back_to_the_80s_Party. Power is only needed from day 0.
Village:Code_for_Heilbronn	40m		Village Code_for_Heilbronn	Kitchen equipement, Lights, Power for Hackcenter, cooling trailer	3 phase 400V 32A CEE (we have our own distribution boxes)	-
Village:Flying_Objects	40m		Village Flying_Objects	Cooling trailer, Kitchen equipement	3 phase 400V 32A CEE (we have our own distribution boxes)	-